## Table 9
2012-2030 Load Increment
Needed 600 MVA rated 230kV lines
for load serving*
|  |  | Base |  |  |  | 3%
|  | Delta |  | Number |  | Delta |  | Number
| Utility | MW |  | of 230kV lines |  | MW |  | of 230kV lines
| Black Hills | 185 |  | 2 |  | 287 |  | 2
| PSCo | 1500 |  | 4 |  | 4541 |  | 9
| CSU | 238 |  | 2 |  | 595 |  | 2
| PRPA | 308 |  | 2 |  | 473 |  | 2
| T-S | 694 |  | 2 |  | 1212 |  | 3
*Criteria - For load greater than 100 MW,
needed lines plus one line to meet
N-1 criteria. Assume existing system
can absorb at least 100 MVA to cover
the N-1.
IGD 03/21/2011 |  |  |  |  | Table 9